IMPORTANT INFORMATION ABOUT DRINKING WATER

The City of Harlowton plans on transitioning to a new water source from the Central Montana Regional Water Authority on September 5, 2023. The City currently operates a corrosion control treatment system on the existing water source.  The corrosion control system will be re-evaluated to determine its need for the new source water.  Based on the high quality of the new source water it is not expected that corrosion control will be needed for the new source.

This change in source water and its potential effects on the current corrosion control treatment system may cause a temporary increase in lead concentrations in the drinking water.  The City of Harlowton will be performing additional sampling to monitor for any changes in lead concentrations in the drinking water system. However, it is important that we take measures to control Lead and Copper levels in the water.

What can I do?

- Flush your water and inspect faucet aerators. Run water for 15-30 seconds to flush stagnant water from interior plumbing.  Flushing can be an effective method of reducing lead and copper in your drinking water.  Routinely inspect, clean or replace your faucets’ aerators.  Aerators can collect debris which can reduce flow and decrease water quality.

- Use cold water for cooking and preparing baby formula. Do not cook with or drink water from the hot water tap; lead dissolves more easily into hot water. Do not use water from the hot water tap to make baby formula.

- Do not boil water to remove lead. Boiling water will not reduce lead.

- Look for alternative sources or treatment of water. You may want to consider purchasing bottled water or a water filter in the interim while the City determines that lead contamination will not be an issue with the new source. Read the package to be sure the filter is approved to reduce lead or contact NSF International at 800-NSF-8010 or www.nsf.org for information on performance standards for water filters. Be sure to maintain and replace a filter device in accordance with the manufacturer’s instructions to protect water quality.

Health Concerns

Exposure to lead in drinking water can cause serious health effects in all age groups. The greatest risk of lead exposure is to infants, young children, and pregnant women. Infants and children can have decreases in IQ and attention span. Lead exposure can lead to new learning and behavior problems or exacerbate existing learning and behavior problems. The children of women who are exposed to lead before or during pregnancy can have increased risk of these adverse health effects. Adults can have increased risks of heart disease, high blood pressure, kidney or nervous system problems. Lead is stored in the bones and it can be released later in life. During pregnancy, the child receives lead from the mother’s bones, which may affect brain development.

Sources of Lead

Lead is a common metal found in the environment. Drinking water is one possible source of lead exposure. The main sources of lead exposure are lead-based paint and lead-contaminated dust or soil, and some plumbing materials. In addition, lead can be found in certain types of pottery, pewter, brass fixtures, food, and cosmetics. Other sources include exposure in the work place and exposure from certain hobbies (lead can be carried on clothing or shoes). Lead is found in some toys, some playground equipment, and some children’s metal jewelry.

Brass faucets, fittings, and valves, including those advertised as "lead-free,'' may contribute lead to drinking water. The law currently allows pipes, fittings, and fixtures with up to .25 percent weighted average of lead to be identified as "lead-free."

When water is in contact with pipes [or service lines] or plumbing that contains lead for several hours, the lead may enter drinking water. Homes built before 1988 are more likely to have lead pipes or lead solder.

EPA estimates that up to 20 percent of a person’s potential exposure to lead may come from drinking water. Infants who consume mostly formula mixed with lead-containing water can receive 40 to 60 percent of their exposure to lead from drinking water.

Don’t forget about other sources of lead such as lead paint, lead dust, and lead in soil. Wash your children’s hands and toys often as they can come into contact with dirt and dust containing lead.

For more information, please contact City of Harlowton at (406) 632-5523 or ctyharlo@itstriangle.com or PO Box 292 Harlowton, MT  59036.

Please share this information with all the other people who drink this water, especially those who may not have received this notice directly (for example, people in apartments, nursing homes, schools, and businesses). You can do this by posting this notice in a public place or distributing copies by hand or mail.

This notice is being sent to you by City of Harlowton.  State Water System ID#: MT0000240.  Date distributed:  8/28/2023

Signed Copy sent to DEQ/PWS date: